SOUTH AFRICAN BROADCASTING CORPORATION RENAISSAINCE BUILDING PROVISION OF HOUSE RULES

Objective

The objective of this document is to provide a framework within which service providers, management and staff can perform their daily duties within a healthy and safe environment and, to protect people against hazards to health and safety emanating from the activities at the SABC Campus. Attention to, assembling of TV sets, general cleanliness, storage and housekeeping can prevent numerous accidents. Good housekeeping efforts are part of the SABC’s fire prevention, accident prevention, health and environmental management programme. The Renaissance Area has been declared as a high fire risk area due to the somewhat industrial activities that are taking place during the storing and assembling of Television Production Sets,

Declaration

The undersigned parties agree and accept to comply, implement and promotes the provisions of the South African Broadcasting Corporation SABC Campus’s House Rules and ensure compliance to the general Occupational Health and Safety Act 85 of 1993 (as amended), and any other SABC policies and or procedures.

| Item no. | Activity & Description | Designated Location | Required Compliance | None Compliance | Warning Phase on Non-adherence | Offences and Penalties for Non-adherence |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Safety Rules | SABC Campus | Each Contractor must provide first aid facilities, i.e. first aid box(‘s). • A qualified first aid responder of the contractor will be in charge of the first aid box. • first aid register. • All injuries must be reported to their appointed Supervisor and SABC OHS. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being met out to the noncomplying individual. | First Time None Compliance will result in either a Verbal warning or written warning from an authorised SABC employee including the cost of correcting the breach, a set timeline may be allocated to allow for the correction of the breach | Continuous noncompliance can result in cancelation of the Land lease agreement or a penalty will be assigned in terms of a fine payable to the SABC. . |
| 2. | House Keeping | SABC CAmpus | Housekeeping • Untidiness leads to accidents. • No dumping will be tolerated. - Work space must be clearly demarcated and all waste must be removed at the end of every day • Ensure that you have your own waste removal company and skips which must be used every day for waste removal | Knowingly or Unknowingly failure to comply with the House Keeping Rules will be deemed Non Compliance which will results in Consequences being metered out to the non complying individual or company. | Offenders will result in a written warning from a appointed SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred, including the cost of correcting the breach, a set timeline may be allocated to allow for the correction of the breach | consistant Non Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises and the SABC reserves the right to cancel the lease agreement. The offender and his/her employers shall further be held liable for any damages that may have occurred, including the cost of rectifying the breach |
| 3. | Security | SABC Campus | The SABC will perform a police clearance on each individual required tby the contractor to perform work within the SABC campus. | Individual’s required to perform work on behalf of the contractor and who fail the police clearance will not be given access to the SABC campus. |  |  |
| 4. | Organisational Health and Safety | SABC Campus | SABC responsibility The SABC will induct every individual required by the contractor to enter or work within the SABC campus on OHS matters Contractor responsibility • Each person contracted by the contractor must Cooperate and comply with safety standards as set out in the OHS Act and SABC Policies • | Knowingly or Unknowingly failure to comply with the requirements will be deemed Non Compliance which will results in Consequences being set out to the none complying individual or company. | First Time Non Compliance will result in a written warning from an appointed SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred including the cost of correcting the breach, a set timeline may be allocated to allow for the correction of the breach | Consistent Non Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises and the SABC reserves the right to cancel the lease agreement. The offender and his/her employers shall further be held liable for any damages that may have occurred, including the cost of rectifying the breach |
| 5. | Equipment Safety | SABC Campus | Safety rules • Never use unsafe or home-made and modified equipment. • Always inspect equipment before use. • Equipment employed to perform work in the SABC campus must comply with OHS Act and meet the SABS standards for safety. compliance and certification …. Gloria to advise Tools and equipment • No homemade, modified tools may be used in execution of the work. • Welding, oxygen and acetylene equipment, electrical equipment. • including drills, grinders, extension leads/cords are to be checked daily for safe utilization. • All faulty tools and equipment must be. • recorded and where applicable, withdrawn from service. • Use the right tool for the job. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time Non Compliance will result in a written warning from an appointed SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred including the cost of correcting the breach, a set timeline will be allocated to allow for the correction of the breach . | Consistent Non Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises and the SABC reserves the right to cancel the lease agreement. The offender and his/her employers shall further be held liable for any damages that may have occurred, including the cost of rectifying the breach |
| 7. | Hot Work Permit | SABC Campus | No hot work without an approved permit from OHS will be allowed. Procedures before hot work commences: • Application • Inspection • Fire extinguishers • Floor space clear • PPE • Screen off area • Ventilate | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 8. | Obstruction of Emergency / Escape Routes | SABC Campus | Obstruction of fire emergency route is prohibited | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 9. | Hazardous Chemical Substance | SABC Campus | Hazardous chemical substances • Inform OHS Department before bringing on site. • Supply the OHS Department with Material Safety Data Sheet (MSDS). • Storage and use in accordance with MSDS. • Minimum amounts on site. • Use and store chemicals in original containers. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 10. | Protective Equipment | SABC Campus | Personal protective equipment • All employees must use PPE as identified by the risk assessment. • All PPE must be in a good state of repair. • Use PPE as intended at all times. • PPE must be issued to employees and be provided | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 11. | Safety Behaviour | SABC Campus | Notify people in the immediate area of: • The work that is going to happen. • The hazards prevalent in the area. • Duration of the project. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 12. | Emergency | SABC Campus | Emergency • Emergency number 714 - 3911. • Do not panic. • Follow instructions of authorized personnel. • Take note of the emergency procedures at the lift lobbies | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 13. | Welding | Designated Work Shop | Welding Activities will only take place in the allocated workshop and is the duty of the service provider to exercise due to care at all times and protect the SABC from any harm/danger | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 14. | Storage | Designated Storage Area | To be kept clean and safe. Redundant equipment and assets shall be disposed accordingly and not kept at the storage areas. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 15. | Signage & Labelling of Sets | SABC Campus | All equipment & sets must be labelled and reflect owners name and contact details | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 16. | Food Preparation/Cooking | SABC Campus | Food Preparation/cooking shall only take place at designated space | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 17. | Food Consumption | SABC Campus | Food consumption shall take place at designated spaces | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 18. | Waste Removal | SABC Campus | Ensure proper management and disposal of general wastes | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 19. | Hazardous Waste Management | SABC Campus | Ensure proper management and disposal of Hazardous wastes are classified on the basis of their biological, chemical, and physical properties. These properties generate materials that are either toxic, reactive, ignitable, corrosive, infectious, or radioactive. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 20. | Cleaning/Hygiene | SABC Campus | Keep workshop and surrounding areas clean and neat at all times. Shall ensure, as far as reasonably practicable, that no items/tools are left lying on the floor | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 21. | Smoking | SABC Premises | Smoking is not permitted inside buildings as required by the Tobacco Control Amendment Act no 12 of 1999. Smoking is permitted outside the building and in designated smoking rooms | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 22. | Alcohol Consumption | SABC Premises | Consumption of Alcohol and drugs is prohibited in SABC premises | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 23. | Fire-fighting equipment | SABC Premises | shall not tamper with, abuse, or use any fire-hose, reel or extinguisher, or cause, or permit it to be tampered with, abused or used, in any manner, or for any purpose other than as permitted, or prescribed by the fire regulations of the relevant authority. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |
| 24 | Site/Premises Handover on expiry of contract | SABC Campus | On expiry of a contract, the service provider shall return the premises to the SABC in exact the same condition that it was first handed over to them (Habitable). | Contractor will be expected to comply with this rule by conducting exit inspection process which will include Contract Manager and Building Supervisor. | First Time None Compliance may result in the SABC issuing a written notice requesting service provider to reinstate the facility. | Second Time None Compliance may result in the SABC reinstating the facility to its original condition and recover the cost from the service provider. Records of failure to comply shall be kept for future dealing reference. |
| 25. | General | SABC Campus | General • Ensure that, everyone knows where the ablution facilities are. • No washing/bathing in toilet facilities. • All contractors must wear proper PPE. • Ad-hoc site inspections will be executed by the Occupational Health and Safety Department. • Contraventions of the above procedure can lead to the prosecution of an individual or the project can be stopped or until contraventions are addressed to the satisfactory of the OHS Department. OHS Department can be contacted at x3188 or x3649 or x4243. | Knowingly or Unknowingly failure to comply with the Safety Rules will be deemed None Compliance which will results in Consequences being meted out to the none complying individual. | First Time None Compliance will result in either a Verbal warning or written warning from any SABC employee. The offender and his/her employers shall further be held liable for any damages that may have occurred. | Second Time None Compliance will result in immediate withdrawal of the offender’s access to SABC Auckland Park Premises. The offender and his/her employers shall further be held liable for any damages that may have occurred. |